DPW MONTH END REPORT

WATER

- Daily Reads

- Bac-T Samples

- MOR Completed for Month

- Lansing Expo Training

SEWER

- Daily Reads

- Pond Samples

- DMR Completed for Month

- Monitoring Wells Samples

- Ferric Chloride Delivery

DPW/STREETS/MISC

- SNOW

- Equipment Maintenance

- Shop Maintenance

POND SAMPLE RESULTS

- Sodium:       140 PPM       Limitation:       400 PPM

- Phosphorus:       0.09 PPM       Limitation:       1.0 PPM

BAC-T SAMPLE RESULTS

- Total Coliform:       Absent On All Samples