DPW MONTH END REPORT

WATER

- Daily Reads

- Bac-T Samples

- MOR Completed for Month

- EGLE Permit for Lakeland Knoll Upgraded to Substantially Complete

SEWER

- Daily Reads

- Pond Samples

- DMR Completed for Month

- EGLE Permit Issued for Lakeland Knoll

- Ferric Chloride Delivery

- Transducer Replacement Lift Station #1

DPW/STREETS/MISC

- Shop Maintenance

- Work On Budget

POND SAMPLE RESULTS

- Sodium:       150 PPM       Limitation:       400 PPM

- Phosphorus:       0.09 PPM       Limitation:       1.0 PPM

BAC-T SAMPLE RESULTS

- Total Coliform:       Absent On All Samples